## Asset Register
Asset ID | Description | Type | Location | Criticality Class | Downtime Cost $/hr | Redundancy | Install Date | Last PM | OEM Manual
P-103 | Cooling Water Pump A | Centrifugal pump | Utilities / Cooling Loop 2 | B | 3500 | standby P-104 | 2015-03-01 | 2024-01-10 | OEM Pump Manual CP-200
P-104 | Cooling Water Pump B | Centrifugal pump | Utilities / Cooling Loop 2 | B | 3500 | standby P-103 available | 2015-03-01 | 2023-05-02 | OEM Pump Manual CP-200
P-201 | Boiler Feed Water Pump A | Multistage centrifugal pump | Boiler House | A | 12000 | none (single BFW pump) | 2012-09-15 | 2024-03-20 | OEM Pump Manual CP-200